## Slide 1: Borrowing security from operations
Keeping the system running
through the attack

## Slide 2: Introduction – Patrick Miller
President and CEO, Ampere Industrial Security
Former utility staff (telecommunications, water & electric)
Drafter of NERC CIP standards and formal interpretations, current SCWG, SITES, SPIDERWG contributor
First NERC CIP auditor in North America; Manager CIP Audits and Investigations (WECC)
Contributor to NERC/ERO Auditor Manual and Guidance
Speaker/contributor to multiple FERC Technical Committees, NOPRs and Orders
Former Principal Investigator US DOE National Electric Sector Cybersecurity Organization
US Coordinator, Instructor, Centro de Ciberseguridad Industrial (CCI)
EnergySec Founder, former Director, former Instructor and President Emeritus
SANS Instructor: ICS456 - Essentials for NERC Critical Infrastructure Protection
Contributor, DHS CISA Cross-Sector Cybersecurity Performance Goals (CPGs)
NTIA/INL Software Bill of Materials (SBOM) Energy POC Stakeholders
NARUC/NASEO Cybersecurity Advisory Team for State Solar (CATSS)
DOE SETO/NREL Industry Advisory Board (IAB) for the Securing Solar for the Grid (S2G)
DOE/NARUC Cybersecurity Baselines for Distribution Steering Group
GCIP, CISSP-ISSAP, SSCP, CISA, CRISC, CEH, CVI

## Slide 3: Ampere Industrial Security
Pure services, specialized consulting firm
Industrial (OT/ICS) cybersecurity
Industrial physical security
Regulations, standards, and frameworks
Operations in North America, South America, Europe
We keep you ahead of your adversaries – and your auditors

## Slide 4: OT is on the menu
If it’s so vulnerable, why hasn’t it been hacked before?
Ukraine changed everything
Ransomware (and similar)
Adversaries have 3 things you don’t
ICS|AP and KEV are proof
Physical threat is also on the rise
Yes, there is still some hype/FUD

## Slide 5: Fragile systems set the bar
Don’t even ping it
Zero auth and otter tail
Specialized administrative software
Infini-day vulnerabilities
Patching: now, next, never
Latency matters
Flat networks
Designed for long life span

## Slide 6: Mythical OT protections
Airgaps
Serial
Obscurity
Proprietary
Age
Complexity
Redundancy
Engineer experience

## Slide 7: IT to the rescue!
Step away from the SCADAs… IT is here to save the day!
Why can’t we use NMAP?
Have you tried turning it off and back on again?
Is this Windows XP?
Yeet it to production!
It doesn’t speak IP?
Where is your neckbeard?

## Slide 8: Mechanical Operations
Predictive maintenance
  Sensing and monitoring
  Analytics
Automation
  Enhance efficiency and consistency
  Scalability
Quality assurance
  Expected level of quality
  Samples and measures

## Slide 9: Maintenance Operations
Preventive maintenance
  Asset management
  Scheduled inspections and calibration
  Threat hunting
Root cause analysis
  Analyze failures
  Lessons learned
  Logging and auditing
Spare parts management
  Availability of essential parts
  Redundancy, HA (where possible)

## Slide 10: Support operations
Supply Chain Management
  SDLC
  SBOM, HBOM, FBOM
  Made in (assembled in)
Customer Support
  Internal parties
  External parties
Vendor Management
  Risk assessments
  Availability, timeliness, consistency

## Slide 11: Technical Operations
Technology Adoption
  Disruption
  Divergence from legacy
  Skills and training
Configuration Management
  System and network baselines
  Testing
Data Management
  Everything has a data stream
  Cloud, analytics, feedback loop

## Slide 12: Safety
Safety Protocols
  Safe operating procedures
  Hazard notice, inspection and operations
Personal Protective Equipment (PPE)
  Transient cyber assets
  Removable media
  Known-safe software
Safety Training
  Communication, culture
  Training/certification prior to use

## Slide 13: Regulation
Audits and Inspections
  Go/no-go decisions
  Penalties and sanctions
  What is required vs. desired
  Automation vs. manual
External Review
  Other governance bodies
  Insurance
  M&A activity
  Shareholders, market, competitors

## Slide 14: The new normal

## Slide 15: Engineering vs. security
Mother nature may be harsh but she’s not malicious
  Physics
  Malice
Different motivations
  Protect the people from the machines
  Protect the machines from the people
Cyber Informed Engineering
  Analog AND digital controls
  Process-focused for resilience

## Slide 16: Translation exercise
Culture shift is necessary – for both
Egos, respect, indifference
Necessary symbiosis
Interdependencies
Incidents usually start in IT
Common technologies and skills
ITSMF <> OTSMF
Criticality and diligence
Regulation is getting smart

## Slide 17: There’s no “I” or “O” in TEAM
Org structures & job shadowing
Business Impact Assessment (BIA)
SOC analysis & thrunting
Incident response
Backup/recovery
Resilience
  Dependency analysis
  Islanding
Regulatory compliance

## Slide 18: CONTACT
Patrick C. Miller – CEO, Ampere Industrial Security
pmiller@amperesec.com
https://www.linkedin.com/in/millerpatrickc/
@patrickcmiller@infosec.exchange
@patrickcmiller.bsky.social
@patrickcmiller
+15032721414
All images sourced from https://www.flaticon.com/